## Instrument_Rules
Tag_Prefix | Process_Variable | Function | Modifier | Example_Tag | Signal_Type | Description
PT | Pressure | Transmitter | - | PT-101 | AI | Pressure measurement transmitter
PI | Pressure | Indicator | - | PI-102 | - | Local pressure indicator
PC | Pressure | Controller | - | PIC-103 | - | Pressure control function
PSH | Pressure | Switch | High | PSH-104 | DI | High pressure switch
PSHH | Pressure | Switch | High-High | PSHH-105 | DI | Critical high pressure switch
PSL | Pressure | Switch | Low | PSL-106 | DI | Low pressure switch
PSLL | Pressure | Switch | Low-Low | PSLL-107 | DI | Critical low pressure switch
FT | Flow | Transmitter | - | FT-201 | AI | Flow measurement transmitter
FI | Flow | Indicator | - | FI-202 | - | Flow indicator
FIC | Flow | Controller | - | FIC-203 | - | Flow control function
FSH | Flow | Switch | High | FSH-204 | DI | High flow switch
FSHH | Flow | Switch | High-High | FSHH-205 | DI | Critical high flow switch
FSL | Flow | Switch | Low | FSL-206 | DI | Low flow switch
FSLL | Flow | Switch | Low-Low | FSLL-207 | DI | Critical low flow switch
LT | Level | Transmitter | - | LT-301 | AI | Level measurement transmitter
LI | Level | Indicator | - | LI-302 | - | Level indicator
LIC | Level | Controller | - | LIC-303 | - | Level control loop
LSH | Level | Switch | High | LSH-304 | DI | High level switch
LSHH | Level | Switch | High-High | LSHH-305 | DI | Critical high level switch
LSL | Level | Switch | Low | LSL-306 | DI | Low level switch
LSLL | Level | Switch | Low-Low | LSLL-307 | DI | Critical low level switch
TT | Temperature | Transmitter | - | TT-401 | AI | Temperature transmitter
TI | Temperature | Indicator | - | TI-402 | - | Temperature indicator
TIC | Temperature | Controller | - | TIC-403 | - | Temperature control
TSH | Temperature | Switch | High | TSH-404 | DI | High temperature switch
TSHH | Temperature | Switch | High-High | TSHH-405 | DI | Critical high temperature switch
TSL | Temperature | Switch | Low | TSL-406 | DI | Low temperature switch
TSLL | Temperature | Switch | Low-Low | TSLL-407 | DI | Critical low temperature switch
FCV | Flow | Control Valve | - | FCV-501 | AO | Modulating control valve
PCV | Pressure | Control Valve | - | PCV-502 | AO | Pressure control valve
LCV | Level | Control Valve | - | LCV-503 | AO | Level control valve
TCV | Temperature | Control Valve | - | TCV-504 | AO | Temperature control valve
SDV | Safety | Shutdown Valve | - | SDV-601 | DO | Emergency shutdown valve
MOV | Motor | Operated Valve | - | MOV-602 | DO | Motorized isolation valve
XV | On/Off | Valve | - | XV-603 | DO | On/Off valve
AE | Conductivity | Sensor | - | AE-101 | AI | Conductivity measurement sensor
AT | Conductivity | Transmitter | - | AT-102 | AI | Conductivity measurement transmitter
ESHH | Electrical | Relay | High-High | ESHH-103 | DI | Over-protection relay
FE | Flow | Element | - | FE-104 | - | Primary flow sensing element
KE | Vibration | Element | - | KE-105 | AI | Key phasor sensing element
KI | Vibration | Indicator | - | KI-106 | - | Key phasor indication
KSH | Oil Filter | Switch | High | KSH-107 | DI | Oil filter warning indication
KT | Vibration | Transmitter | - | KT-108 | AI | Key phasor transmitter
LG | Level | Gauge | - | LG-109 | - | Local level gauge
LS | Level | Switch | - | LS-110 | DI | Level switch
PDI | Pressure | Indicator | Differential | PDI-111 | - | Differential pressure indication
PDT | Pressure | Transmitter | Differential | PDT-112 | AI | Differential pressure transmitter
PG | Pressure | Gauge | - | PG-113 | - | Local pressure gauge
PY | Position | Positioner | - | PY-114 | AO | Valve positioner
QFI | Flow | Indicator | Volume | QFI-115 | - | Volume flow indication
SI | Speed | Indicator | - | SI-116 | - | Speed indication
SSA | Sensor | Alarm | - | SSA-117 | DI | Sensor error alarm
TE | Temperature | Element | - | TE-118 | AI | Temperature sensing element
TG | Temperature | Gauge | - | TG-119 | - | Local temperature gauge
VE | Vibration | Element | - | VE-120 | AI | Vibration sensing element
VI | Vibration | Indicator | - | VI-121 | - | Vibration indicator
VT | Vibration | Transmitter | - | VT-122 | AI | Vibration transmitter
VZE | Vibration | Element | Axial | VZE-123 | AI | Axial vibration sensing element
VZI | Vibration | Indicator | Axial | VZI-124 | - | Axial vibration indicator
VZT | Vibration | Proximity | Axial | VZT-125 | AI | Axial vibration proximity probe
ZSC | Position | Switch | Close | ZSC-126 | DI | Close limit switch
ZSO | Position | Switch | Open | ZSO-127 | DI | Open limit switch

## Signal_Mapping
Device_Type | Signal_Type | Control_System_Connection | Notes
Transmitter | AI | PLC/DCS Analog Input Card | Continuous measurement
Indicator | - | Local Display | No PLC connection required
Controller | - | DCS Control Block | Logical control function
Switch | DI | PLC Digital Input Card | Discrete condition signal
Control Valve | AO | PLC Analog Output Card | Modulating control signal
Shutdown Valve | DO | PLC Digital Output Card | Safety shutdown command
Motor | DO | PLC Digital Output Card | Start/Stop command
Relay | DO | PLC Digital Output Card | Logic actuation
Push Button | DI | PLC Digital Input Card | Manual command input
Level Sensor | AI | PLC Analog Input Card | Continuous level feedback
Pressure Sensor | AI | PLC Analog Input Card | Continuous pressure feedback
Temperature Sensor | AI | PLC Analog Input Card | Continuous temperature feedback
Flow Sensor | AI | PLC Analog Input Card | Continuous flow feedback
Vibration Switch | DI | PLC Digital Input Card | Discrete vibration alarm
Emergency Stop | DI | Safety PLC Input | Critical safety signal
Sensor | AI | PLC Analog Input Card | Continuous measurement sensing element
Gauge | - | Local Mechanical Display | Local measurement display, no PLC connection
Element | AI | PLC Analog Input Card | Primary sensing element for measurement
Positioner | AO | PLC Analog Output Card | Valve position control device
Proximity Probe | AI | PLC Analog Input Card | Non-contact vibration or position measurement
Error / Alarm | DI | PLC Digital Input Card | Fault or diagnostic alarm signal

## Alarm_Rules
Condition_Code | Meaning | Classification | Operator_Action | Severity_Level
H | High | Alarm | Monitor process | Medium
L | Low | Alarm | Monitor process | Medium
HH | High-High | Critical Alarm | Immediate attention | High
LL | Low-Low | Critical Alarm | Immediate attention | High
Deviation High | Process deviation high | Alarm | Check controller | Medium
Deviation Low | Process deviation low | Alarm | Check controller | Medium
Rate High | Rapid increase | Alarm | Investigate | Medium
Rate Low | Rapid decrease | Alarm | Investigate | Medium
Sensor Fault | Sensor failure | Alarm | Maintenance required | Medium
Communication Loss | Signal lost | Alarm | Check network | Medium
Power Failure | Power supply lost | Alarm | Restore power | High
Control Failure | Loop malfunction | Alarm | Check controller | High
Close | Valve or device in closed position | Status | Verify equipment state | Low
Fault | Device malfunction | Alarm | Inspect device | Medium
Open | Valve or device in open position | Status | Verify equipment state | Low
Trip | Equipment shutdown triggered | Critical Alarm | Immediate investigation | High
Warning | Early abnormal condition | Alarm | Monitor process | Medium

## Trip_Rules
Trigger_Condition | Associated_Element | Classification | Automatic_Action | Safety_Category
PSHH | SDV | Trip | Close Shutdown Valve | Safety
LSHH | SDV | Trip | Close Shutdown Valve | Safety
TSHH | SDV | Trip | Close Shutdown Valve | Safety
FSLL | Pump | Trip | Stop Pump | Safety
PSLL | Pump | Trip | Stop Pump | Safety
LSLL | Pump | Trip | Stop Pump | Safety
TSHH | Heater | Trip | Shutdown Heater | Safety
High Vibration | Motor | Trip | Stop Motor | Equipment Protection
Overcurrent | Motor | Trip | Stop Motor | Equipment Protection
High Temperature | Compressor | Trip | Shutdown Compressor | Safety
Low Lubrication Pressure | Turbine | Trip | Shutdown Turbine | Safety
Emergency Stop Activated | Entire Unit | Trip | Full System Shutdown | Critical Safety
Gas Detection High | SDV | Trip | Isolate Gas Line | Safety
Fire Detection | Entire Unit | Trip | Activate ESD | Critical Safety
High Tank Level | Inlet Valve | Trip | Close Inlet Valve | Safety
Low Tank Level | Pump | Trip | Stop Pump | Safety
High Pressure + Manual Override Disabled | SDV | Trip | Close SDV | Safety
Axial Vibration High | Turbine | Trip | Shutdown Turbine | Equipment Protection
Differential Pressure High | Filter | Alarm | Check Filter Condition | Process Protection
Differential Pressure Low | Pump | Trip | Stop Pump | Equipment Protection
Sensor Failure | Instrument | Alarm | Maintenance Required | Maintenance
Valve Closed Limit | Control Valve | Status | Confirm Valve Closed | Process Monitoring
Valve Open Limit | Control Valve | Status | Confirm Valve Open | Process Monitoring
Vibration High | Turbine | Trip | Shutdown Turbine | Equipment Protection
Vibration Warning | Turbine | Alarm | Monitor Machine Condition | Equipment Protection